## Slide 1: Introduction to Soft Robotics Autumn 2022 Instructors: Ahmad Rafsanjani, Jonas Jørgensen
5 September 2022

## Slide 2: Part 1: Arduino 101
5 September 2022

## Slide 3
5 September 2022
Arduino Uno and Serial communication
SoRo_101 QR code
GitHub Link

## Slide 4: Part 2: MPX5100 Integrated Silicon Pressure Sensor
5 September 2022

## Slide 5
MPX5100, 0 to 100 kPa, Differential, Gauge, and Absolute, Integrated, Pressure Sensor
Figure 1. MPX5100DP Pinout (top view), Pin functions, and mechanical and electrical specifications
Figure 2. MPX5100DP – Arduino connection diagram
5 September 2022

## Slide 6: Code Information
Arduino libraries
Download ads Arduino driver at GitHub Link
Copy folder ads_driver into Arduino/Libraries folder
Open the ads.h file located at ads_driver folder
Change the command ADS_DFU_CHECK(1) to ADS_DFU_CHECK(0)
Save the changes
Download SoRo_Tutorial_1 sketch at GitHub Link
Arduino Calibration
Compile and Upload SoRo_Tutorial_1 sketch at Arduino Uno Device
Open the serial monitor
Put the Bendlabs sensor in the 0° position
Type 0 and press Enter
Put the Bendlabs sensor in the 90° position
Type 9 and press Enter
5 September 2022
SoRo_Tutorial_1 QR code
Ads_driver QR code

## Slide 7: Code Information
Arduino Calibration and plotting
5 September 2022

## Slide 8: Part 3: Conductive Rubber Cord Sensor
5 September 2022

## Slide 9
Figure 1. Conductive Rubber Cord Sensor – Arduino connection diagram
5 September 2022

## Slide 10: Code Information
Arduino Calibration and plotting
5 September 2022

## Slide 11: Part 4: Bendlabs sensor
5 September 2022

## Slide 12
∆ꝋ
Figure 1. Bendlabs sensor – Logic Level Converter – Arduino connection diagram
4-channel Logic Level Converter
5 September 2022

## Slide 13: Code Information
Arduino Calibration and plotting
5 September 2022

## Slide 14: Part 5: System integration
5 September 2022

## Slide 15
Figure 1. Connection Scheme for a Bendlabs and MPX5100 pressure sensor for Arduino Uno
5 September 2022